## Slide 1
Monte Carlo Simulation for
AOD–SLM Atom Transfer
Step-by-step Calculation and Evidence Report
从论文数据、物理输入到存活曲线、敏感性扫描和验收
MonteCarloForQC / monte-carlo-for-aodslm
2026-09-11 · gpt_level4_5 · commit 5e55bb0
Fig. 6c / 6d
Notes: Sources:
- git branch gpt_level4_5, commit 5e55bb0dcc4d9c1be07c6d39d9e8d74d45bca9f8
- simulation/level2_joint_transfer/README.md

## Slide 2
本次工作的计算顺序
每一步都回答五个问题：算什么、输入什么、怎样计算、输出什么、结论能走多远
Step | 计算内容 | 主要输出
01 | 固定论文曲线和验收口径 | Paper S(n)
02 | 建立 Cs 与双高斯阱模型 | U(x,t), F(x,t)
03 | 生成初态、位点散布和加热 | 每个 shot 的参数
04 | 构造手工 pick-up / drop-off | c(t), D(t)
05 | 逐时间步传播单个原子 | x(t), v(t), E(t)
06 | 连续重复 60 次单程转移 | S(n), loss stage
07 | 运行仓库 baseline | 默认参考曲线
Step | 计算内容 | 主要输出
08 | 设计单因素敏感性扫描 | T / RIN / alignment / jitter
09 | 读取扫描端点并比较机制 | S(60) sensitivity
10 | 检查 T40 的完整时长曲线 | 200 / 400 / 600 µs
11 | 数字化 Fig. 6c ML 波形 | 15-node trajectory
12 | 比较 Manual 与 ML | endpoint gain
13 | 分离位置和深度贡献 | 2×2 ablation
14–15 | 逐点验收并界定模型边界 | curve error / gaps
工作边界：仓库已经包含 Monte Carlo 原始输出。本报告复核这些输出，并重新计算单调论文参考线、逐点偏差和验收指标，没有为匹配论文重新拟合参数。
Sources: Level 2C README · configs · Stage-1 outputs · report recomputation
02
Notes: Sources:
- simulation/level2_joint_transfer/README.md, Level 2C section
- simulation/level2_joint_transfer/reference/fig6d_parameters.md
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/summary_stage1.md
Method note: The report distinguishes repository computations already present from comparison metrics recomputed for presentation. No Monte Carlo parameter was refit during deck generation.

## Slide 3
STEP 01
论文数据与验收目标
先固定比较对象，再查看模拟结果；Fig. 6d survival 与 IRB fidelity 分开处理
需要复现的四条曲线
Trajectory | Endpoint | Paper
Manual 200 µs | S(31) | 0.334
Manual 400 µs | S(60) | 0.414
Manual 600 µs | S(60) | 0.573
ML 400 µs | S(60) | 0.663
计算口径
S(n) 是完成至少 n 次单程转移后仍满足束缚条件的原子比例。200 µs 曲线只在 n≤31 可辨。
验收标准：模拟曲线逐点落入论文数字化曲线 ±0.02。报告保留原始 CSV，并用稳定锚点生成单调参考线，避免把标记边缘像素解释成存活率振荡。
Sources: fig6d_parameters.md · fig6d_survival_digitized.csv · digitize_fig6d.py
03
Notes: Sources:
- simulation/level2_joint_transfer/reference/fig6d_parameters.md
- simulation/level2_joint_transfer/reference/fig6d_survival_digitized.csv
- simulation/level2_joint_transfer/reference/fig6d_digitize_check.png
- simulation/level2_joint_transfer/tools/digitize_fig6d.py
Method note: Paper display curves use monotone linear interpolation through stable anchors. The source CSV remains unchanged. Manual 200 µs ends at n=31 because the plotted curve leaves the visible panel.

## Slide 4
STEP 02
Cs 原子与双高斯阱模型
本步计算任意时间和位置的势能 U(x,t)、力 F(x,t)，为后续轨迹积分提供输入
一维时变势
U(x,t) = −D(t) exp[−2(x−c(t))² / w²]
F(x,t) = −∂U/∂x
SLM 势和 AOD 势在同一坐标轴上相加。SLM 固定在 x=0；AOD 的中心 c(t) 和深度 D(t) 随控制波形变化。
模型输出
每个时间点的总势能、总力、AOD/SLM 单阱能量，以及后续束缚判定需要的参考阱深。
固定物理输入
Input | Value | Role | Source
Atom | Cs-133 | 质量 m | config
SLM depth | 140 µK | 最终束缚阱 | paper
AOD depth | 280 µK | 移动束缚阱 | paper
SLM waist | 1.17 µm | 横向尺度 w | paper
AOD waist | 1.17 µm | 当前取值 | assumed
Separation | 2.4 µm | 中心位移 | paper
边界：Fig. 6d 主比较只使用这一维理想高斯势。仓库中的 2D、3D 和量子模块没有自动并入本计算。
Sources: level2c_pickup_survival.yaml · gaussian potential implementation
04
Notes: Sources:
- simulation/level2_joint_transfer/reference/fig6d_parameters.md
- simulation/level2_joint_transfer/configs/level2c_pickup_survival.yaml
- simulation/level2_joint_transfer/src/level0_static_trap/potentials.py
- simulation/level2_joint_transfer/src/level2c_pickup_survival/survival_engine.py
Method note: AOD waist 1.17 µm is an assumed match to the SLM back-aperture value. The Level 2C main comparison uses one spatial dimension.

## Slide 5
STEP 03
初态采样、位点散布与平均加热
本步为每个 shot 生成初始 x、v 和固定的位点参数；σ 表示高斯分布的标准差
Input | Baseline | How the code uses it | Provenance
Initial T | 5 µK | 只决定 t=0 的 x、v 热分布；E<0 才接受 | uncalibrated
Static alignment σ | 0.05 µm | 每个 shot 抽一次，在 60 次转移中固定 | assumed
Leg-wise jitter σ | 0.01 µm | 每个 pickup / wait / drop-off 段重新抽样 | assumed
SLM depth σ | 11.4% | 每个 shot 的乘性阱深散布 | paper site spread
AOD depth / waist σ | 2% / 2% | 每个 shot 的乘性深度与束腰散布 | assumed
RIN PSD | 1×10⁻⁸ Hz⁻¹ | 换算为确定性平均参量加热 | assumed
Recoil / pointing | 4.23 s⁻¹ / 1 pm² Hz⁻¹ | 换算为每时间步注入能量 | model / assumed
初态计算
x、v 先按 SLM 阱底的谐振近似采样，再用 E₀=½mv²+U_SLM(x)<0 做束缚拒绝。转移开始后状态连续继承，不逐程重新热化。
当前未建模
Level 2C 没有真空寿命、Raman 损失、成像误差或随机 RIN 时间序列。RIN 在当前实现中是平均功率注入。
Sources: level2c_pickup_survival.yaml · survival_engine.py · noise_heating.py
05
Notes: Sources:
- simulation/level2_joint_transfer/configs/level2c_pickup_survival.yaml
- simulation/level2_joint_transfer/src/level2c_pickup_survival/survival_engine.py
- simulation/level2_joint_transfer/src/level2_joint_transfer/noise_heating.py
Method note: The config field shot_jitter_alignment_sigma_um is described as per-transfer, but survival_engine.py redraws it once for each pickup, wait, and drop-off leg. RIN is deterministic mean-rate heating rather than a random trace.

## Slide 6
STEP 04
手工波形与一次往返协议
本步把论文 Methods 转成 AOD 中心 c(t)、深度 D(t) 和三个连续阶段
Chart: Time (µs)
| 0 | 29 | 57 | 86 | 114 | 143 | 171 | 200 | 229 | 257 | 286 | 314 | 343 | 371 | 400
Manual position | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00072827 | 0.069574 | 0.38675 | 0.96419 | 1.6133 | 2.135 | 2.3668 | 2.4
Chart: Time (µs)
| 0 | 29 | 57 | 86 | 114 | 143 | 171 | 200 | 229 | 257 | 286 | 314 | 343 | 371 | 400
Manual depth | 0 | 0.0062004 | 0.024802 | 0.055804 | 0.099206 | 0.15501 | 0.22321 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28
Phase | Duration | Control operation | End-of-phase calculation
Pick-up | 200 / 400 / 600 µs | 前 48% 二次升深，后 52% constant-jerk 移动 2.4 µm | 进入 100 µs wait
Wait | 100 µs | SLM 关闭，AOD 保持原子 | 计算 E_AOD<0
Drop-off | 与 pick-up 相同 | 使用 pick-up 的严格时间反演 | 计算 E_SLM<0
一个 pick-up 判定和一个 drop-off 判定构成两次 one-way transfer；60 次单程对应最多 30 次完整往返。
Sources: waveforms.py · fig6d_parameters.md · level2c config
06
Notes: Sources:
- simulation/level2_joint_transfer/src/level2_joint_transfer/waveforms.py
- simulation/level2_joint_transfer/reference/fig6d_parameters.md
- simulation/level2_joint_transfer/configs/level2c_pickup_survival.yaml
Method note: Charts show the 400 µs manual waveform. The 200 and 600 µs cases use the same normalized shape with different time scaling.

## Slide 7
STEP 05
单个原子的数值传播与束缚判定
本步按 dt 更新 x、v 和注入能量；原子失败后立即退出后续计算
Velocity-Verlet 更新
a(t) = [F_SLM + F_AOD] / m
x(t+dt) = x + v·dt + ½a·dt²
v(t+dt) = v + ½[a(t)+a(t+dt)]·dt
状态在相邻阶段和相邻往返之间连续继承。代码不会在每次 transfer 前重新采样或重新热化。
数值与加热参数
Parameter | Value | Meaning
Main dt | 0.05 µs | 主扫描积分步长
Convergence dt | 0.025 µs | 步长减半复算
Recoil rate | 4.23 s⁻¹ | 平均反冲加热
RIN reference ν₀ | 36.007 kHz | 参量加热参考频率
Noise update | every dt | 将平均功率转换为动能增量
Checkpoint | Energy used for decision | Decision
After pickup wait | E_AOD = ½mv² + U_AOD(x) | E_AOD<0 才保留
After drop-off | E_SLM = ½mv² + U_SLM(x) | E_SLM<0 才保留
Early stop：某个 shot 首次失败后从活跃池移除，不允许在后续阶段偶然重新俘获。
Sources: survival_engine.py · noise_heating.py · work-energy implementation
07
Notes: Sources:
- simulation/level2_joint_transfer/src/level2c_pickup_survival/survival_engine.py
- simulation/level2_joint_transfer/src/level2_joint_transfer/noise_heating.py
- simulation/level2_joint_transfer/src/level2_joint_transfer/work_energy.py

## Slide 8
STEP 06
从逐原子判定到存活曲线 S(n)
每个 n 统计仍在活跃池中的 shot；图中阶梯来自有限样本计数
Chart: One-way transfers n
统计量
S(n) = N_survive(n) / N₀
几何等效每程损失
L_eq = 1 − S(n)^(1/n)
扫描池：256 shots，seed 23001
复核池：512 shots，seed 23002
场景间使用同一随机池做 CRN 配对。
L_eq 只是端点换算，不等于论文三参数拟合中的瞬时损失。
图中 baseline 的离散小台阶由 256 个 shot 的整数计数产生。它们应当单调不增，但不代表连续概率曲线的真实细纹。
Sources: demo/survival_scan_results.csv · survival_engine.py · statistics.py
08
Notes: Sources:
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/demo/survival_scan_results.csv
- simulation/level2_joint_transfer/src/level2c_pickup_survival/survival_engine.py
- simulation/level2_joint_transfer/src/level2_joint_transfer/statistics.py

## Slide 9
STEP 07
Baseline 计算结果
先用仓库默认参数建立参照，再决定需要扫描哪些机制
Chart: Survival
| Manual 200 S(31) | Manual 400 S(60) | Manual 600 S(60)
Paper | 0.3344 | 0.4135 | 0.5726
Baseline | 0.48438 | 0.92969 | 0.99219
Baseline 参数
Input | Value
Temperature | 5 µK
RIN PSD | 1×10⁻⁸ Hz⁻¹
Static alignment σ | 0.05 µm
Leg-wise jitter σ | 0.01 µm
SLM depth σ | 11.4%
AOD depth / waist σ | 2% / 2%
主要发现
Manual 400 与 600 的存活率明显高于论文。默认模型产生的绝对损失不足。
Baseline 是仓库默认参考点，不是实验标定值，也不是通过验收的最佳拟合配置。
Sources: demo/survival_scan_results.csv · paper monotone reference
09
Notes: Sources:
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/demo/survival_scan_results.csv
- simulation/level2_joint_transfer/reference/fig6d_survival_digitized.csv
Method note: Baseline values are raw 256-shot full-variant counts: Manual 400 S(60)=0.9296875 and Manual 600 S(60)=0.9921875.

## Slide 10
STEP 08
单因素敏感性扫描设计
每次只改变一个参数；波形、随机池、阱参数和数值步长保持一致
Parameter | Baseline | Scan values | What the scan tests
Initial T | 5 µK | 10 / 20 / 30 / 40 µK | 初始能量分布是否靠近逃逸阈值
RIN PSD | 1×10⁻⁸ Hz⁻¹ | 1×10⁻⁷ / 3×10⁻⁷ Hz⁻¹ | 传播过程中的平均参量加热
Static alignment σ | 0.05 µm | 0.15 / 0.30 µm | 全程固定的 AOD–SLM 中心失配
Leg-wise jitter σ | 0.01 µm | 0.03 / 0.10 µm | 每个阶段重新抽样的对准扰动
所有场景保持不变的量
Control | Fixed value | Reason
Trap geometry | SLM 140 µK, AOD 280 µK, w=1.17 µm, d=2.4 µm | 避免同时改变势能尺度
Numerics | dt=0.05 µs, 256 shots | 保持统计和离散化口径
Random pool | scan_seed=23001 | 跨场景 CRN 配对
Waveforms | Manual 200 / 400 / 600 µs | 用时长排序区分损失机制
Sources: configs/scan_stage1/*.yaml · summary_stage1.md
10
Notes: Sources:
- simulation/level2_joint_transfer/configs/scan_stage1/
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/summary_stage1.md
Method note: All scan values are sensitivity assumptions. They were not fit on the validation pool and do not constitute measured apparatus parameters.

## Slide 11
STEP 09
单因素扫描结果
温度和 RIN 改变损失量级；静态对准影响很小，强抖动产生错误的时长结构
Chart: Initial temperature (µK)
| 5 | 10 | 20 | 30 | 40
Manual 400 | 0.92969 | 0.91406 | 0.75781 | 0.60938 | 0.52734
Manual 600 | 0.99219 | 0.98828 | 0.91797 | 0.79297 | 0.67969
Chart: S(60)
| Baseline | R3e−7 | A0.15 | A0.30 | J0.10
Manual 400 | 0.92969 | 0.35938 | 0.93359 | 0.92188 | 0.09375
Manual 600 | 0.99219 | 0.43359 | 0.99609 | 0.99609 | 0.10547
读数
Paper 400 / 600 µs：0.414 / 0.573。T40：0.527 / 0.680。RIN 3×10⁻⁷：0.359 / 0.434。A0.15/A0.30 接近 baseline；J0.10 为 0.094 / 0.105。
解释：T40 和 R3e−7 能把损失推到论文量级附近；J0.10 虽然损失大，但 400/600 几乎同样差，无法解释论文的时长排序。
Sources: raw Stage-1 survival_scan_results.csv for T / RIN / alignment / jitter
11
Notes: Sources:
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/demo/survival_scan_results.csv
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/*/survival_scan_results.csv
Method note: All displayed scan values are raw n=60 full-variant results from the 256-shot common-random-number pool.

## Slide 12
STEP 10
T40 的完整时长曲线
Paper 使用单调锚点重建；MC 使用 512-shot 独立复核池
Chart: One-way transfers n
| 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Paper 200 µs | 0.925 | 0.8994 | 0.8738 | 0.8482 | 0.81527 | 0.78235 | 0.74943 | 0.7165 | 0.69183 | 0.66715 | 0.64248 | 0.6178 | 0.59437 | 0.57095 | 0.54753 | 0.5241 | 0.50578 | 0.48746 | 0.46914 | 0.45082 | 0.4325 | 0.41418 | 0.39586 | 0.37754 | 0.35922 | 0.3409 | 0.3344
MC T40 200 µs | 0.79297 | 0.75781 | 0.7207 | 0.69336 | 0.64844 | 0.62109 | 0.57617 | 0.54883 | 0.52148 | 0.49414 | 0.47461 | 0.45117 | 0.41602 | 0.4043 | 0.37891 | 0.36133 | 0.34961 | 0.3418 | 0.33203 | 0.32617 | 0.30469 | 0.27344 | 0.27148 | 0.26562 | 0.25586 | 0.24609 | 0.24023
Chart: One-way transfers n
| 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
Paper 400 µs | 0.968 | 0.95597 | 0.94393 | 0.9319 | 0.92385 | 0.9158 | 0.90775 | 0.8997 | 0.89253 | 0.88535 | 0.87818 | 0.871 | 0.85915 | 0.8473 | 0.83545 | 0.8236 | 0.81013 | 0.79666 | 0.78319 | 0.76972 | 0.75625 | 0.74278 | 0.72931 | 0.71584 | 0.70237 | 0.6889 | 0.67826 | 0.66762 | 0.65698 | 0.64634 | 0.6357 | 0.62506 | 0.61442 | 0.60378 | 0.59314 | 0.5825 | 0.57345 | 0.5644 | 0.55535 | 0.5463 | 0.53725 | 0.5282 | 0.51915 | 0.5101 | 0.50105 | 0.492 | 0.48415 | 0.4763 | 0.46845 | 0.4606 | 0.45275 | 0.4449 | 0.43705 | 0.4292 | 0.42135 | 0.4135
MC T40 400 µs | 0.94531 | 0.94336 | 0.92383 | 0.92383 | 0.91016 | 0.9043 | 0.88281 | 0.88281 | 0.85547 | 0.85547 | 0.83203 | 0.83008 | 0.80469 | 0.80273 | 0.78711 | 0.78711 | 0.77734 | 0.77734 | 0.76172 | 0.75977 | 0.75195 | 0.75195 | 0.72852 | 0.72852 | 0.72266 | 0.7207 | 0.71289 | 0.71289 | 0.70117 | 0.70117 | 0.67969 | 0.67578 | 0.66602 | 0.66406 | 0.64648 | 0.64453 | 0.62891 | 0.62891 | 0.61328 | 0.61328 | 0.60742 | 0.60742 | 0.60352 | 0.59961 | 0.5918 | 0.58984 | 0.57227 | 0.56836 | 0.55469 | 0.55469 | 0.54883 | 0.54688 | 0.53906 | 0.53906 | 0.52539 | 0.52539
Paper 600 µs | 0.9706 | 0.9698 | 0.969 | 0.9682 | 0.95762 | 0.94705 | 0.93647 | 0.9259 | 0.9229 | 0.9199 | 0.9169 | 0.9139 | 0.90758 | 0.90125 | 0.89492 | 0.8886 | 0.88126 | 0.87392 | 0.86658 | 0.85924 | 0.8519 | 0.84456 | 0.83722 | 0.82988 | 0.82254 | 0.8152 | 0.80627 | 0.79734 | 0.78841 | 0.77948 | 0.77055 | 0.76162 | 0.75269 | 0.74376 | 0.73483 | 0.7259 | 0.71829 | 0.71068 | 0.70307 | 0.69546 | 0.68785 | 0.68024 | 0.67263 | 0.66502 | 0.65741 | 0.6498 | 0.64208 | 0.63436 | 0.62664 | 0.61892 | 0.6112 | 0.60348 | 0.59576 | 0.58804 | 0.58032 | 0.5726
MC T40 600 µs | 0.94922 | 0.94922 | 0.93359 | 0.93359 | 0.92578 | 0.92578 | 0.91797 | 0.91797 | 0.90625 | 0.90625 | 0.89648 | 0.89648 | 0.89062 | 0.89062 | 0.88672 | 0.88477 | 0.87695 | 0.87695 | 0.87109 | 0.87109 | 0.85742 | 0.85742 | 0.8418 | 0.8418 | 0.83789 | 0.83789 | 0.82617 | 0.82422 | 0.81445 | 0.81445 | 0.80664 | 0.80664 | 0.80078 | 0.80078 | 0.79492 | 0.79492 | 0.7832 | 0.7832 | 0.77344 | 0.77344 | 0.76172 | 0.75977 | 0.74414 | 0.74414 | 0.73828 | 0.73828 | 0.73438 | 0.73242 | 0.73047 | 0.73047 | 0.7207 | 0.7207 | 0.70312 | 0.70117 | 0.68359 | 0.68359
结论
排序 200 < 400 < 600 与论文一致；200 µs 全程偏低，400/600 µs 从早期偏低转为后期偏高，因此误差不是单一 absolute offset。
Sources: T40/comparison_to_paper.json · fig6d_survival_digitized.csv
12
Notes: Sources:
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/T40/comparison_to_paper.json
- simulation/level2_joint_transfer/reference/fig6d_survival_digitized.csv
- simulation/level2_joint_transfer/tools/digitize_fig6d.py
Method note: MC lines use the raw 512-shot validation arrays. Paper lines use linear interpolation through stable digitization anchors at n=5, 8, 12, 16, 20, 30, 40, 50 and 60; the 200 µs series ends at n=31. This presentation-only reconstruction removes rasterized diamond-marker edge artifacts while preserving the source CSV and quoted endpoints.

## Slide 13
STEP 11
Fig. 6c ML 波形的数字化输入
从 PDF 矢量路径读取位置和深度，再在同一 400 µs 网格上与手工波形比较
Chart: Time (µs)
| 0 | 29 | 57 | 86 | 114 | 143 | 171 | 200 | 229 | 257 | 286 | 314 | 343 | 371 | 400
Manual position | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00072827 | 0.069574 | 0.38675 | 0.96419 | 1.6133 | 2.135 | 2.3668 | 2.4
Fig. 6c ML position | 0.0041356 | 0.041997 | 0.11113 | 0.11274 | 0.11216 | 0.18875 | 0.32033 | 0.49575 | 0.69727 | 0.94797 | 1.241 | 1.5442 | 1.8564 | 2.2099 | 2.4043
Chart: Time (µs)
| 0 | 29 | 57 | 86 | 114 | 143 | 171 | 200 | 229 | 257 | 286 | 314 | 343 | 371 | 400
Manual depth | 0 | 0.0062004 | 0.024802 | 0.055804 | 0.099206 | 0.15501 | 0.22321 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28
Fig. 6c ML depth | 0.00049971 | 0.0041464 | 0.010648 | 0.019031 | 0.037991 | 0.076289 | 0.13492 | 0.21228 | 0.26849 | 0.28047 | 0.2806 | 0.28053 | 0.28052 | 0.28052 | 0.28052
输入构造
矢量提取得到 15 个绘制节点，间隔约 28.57 µs。位置先在约 0.11 µm 停留，待 AOD 接近满深后再加速移动并平缓收尾。普通三次插值连接节点。
Sources: fig6c_ml_trajectory_digitized.json · waveforms.py · PDF page 7
13
Notes: Sources:
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/fig6c_ml_trajectory_digitized.json
- simulation/level2_joint_transfer/src/level2_joint_transfer/waveforms.py
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/summary_stage1.md
Method note: Manual curves are evaluated at the same nodes. The digitized curve is not the raw AWG command waveform; interpolation boundary conditions and hardware response remain unknown.

## Slide 14
STEP 12
Manual 与 Fig. 6c ML 的端点比较
在 T40 的同一 256-shot CRN 随机池中回放两条 400 µs 波形
Chart: S(60)
| Paper | MC T40
Manual 400 µs | 0.4135 | 0.52734
Fig. 6c ML 400 µs | 0.6633 | 0.75781
Paper ΔS
+0.250
41.3% to 66.3%
Equivalent loss 1.46% to 0.68%
MC T40 ΔS
+0.230
52.7% to 75.8%
Equivalent loss 1.06% to 0.46%
相对增益接近论文，但 MC 的 Manual 和 ML 绝对存活率仍偏高。
Sources: paper_ml_eval.json · fig6d_survival_digitized.csv
14
Notes: Sources:
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/paper_ml_eval.json
- simulation/level2_joint_transfer/reference/fig6d_survival_digitized.csv
Method note: MC T40 values are raw 256-shot scan-pool endpoints: manual 0.52734375 and Fig. 6c replay 0.7578125. Paper endpoints are 0.4135 and 0.6633. Equivalent per-transfer loss is 1-S(60)^(1/60).

## Slide 15
STEP 13
2×2 交叉消融定位 ML 增益来源
分别替换 position 和 depth，在同一 T40、512-shot 条件下计算四个组合
Chart: S(60)
| Dman / Pman | DML / Pman | Dman / PML | DML / PML
S(60) | 0.5254 | 0.5293 | 0.8086 | 0.8047
位置替换的增益
+0.283 / +0.275
深度来源不同的两组对照均成立
深度替换的增益
+0.004 / −0.004
在该模型和场景下与统计分辨率相当
95% 以上的丢失发生在 pickup_wait 的 AOD 束缚判定，而非 drop-off。
Source: summary_stage1.md §6.1 · reproducible script ablation_cross_2x2.py
15
Notes: Sources:
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/summary_stage1.md, section 6.1
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/ablation_cross_2x2.py
Method note: The repository commits the reproducible script and the reported values in summary_stage1.md, but no separate raw JSON/CSV for this cross-ablation. These numbers are therefore kept distinct from raw-output comparisons.

## Slide 16
STEP 14
用逐点误差执行定量验收
Manual 使用 T40 的 512-shot 完整曲线；Fig. 6c ML 只验收已提交的 256-shot 端点
Trajectory | Endpoint | Paper | MC | MC−Paper | Max ¦curve error¦ | Within ±0.02
Manual 200 | S(31) | 33.4% | 24.0% | -9.4 pp | 17.8 pp | 0%
Manual 400 | S(60) | 41.3% | 52.5% | 11.2 pp | 11.2 pp | 20%
Manual 600 | S(60) | 57.3% | 68.4% | 11.1 pp | 11.7 pp | 34%
Fig. 6c ML 400 | S(60) | 66.3% | 75.8% | 9.5 pp | full curve not committed | not evaluable
Absolute scale
Manual 400/600 和 Fig. 6c ML 的终点偏高约 9–11 pp；Manual 200 在 n=31 偏低 9.4 pp。
Evidence gap
最新 Fig. 6c replay 只提交了 endpoint JSON。旧 `ml_400us` 全曲线对应原冻结候选，不能替代最新轨迹。
Sources: T40/comparison_to_paper.json · paper_ml_eval.json · monotone paper reconstruction
16
Notes: Sources:
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/T40/comparison_to_paper.json
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/paper_ml_eval.json
- simulation/level2_joint_transfer/reference/fig6d_survival_digitized.csv
Method note: Manual curve-error metrics are recomputed against the same monotone paper reconstruction used on slides 12 and 17. Endpoints are unchanged. The ML endpoint row uses the raw T40 scan-pool value 0.7578125. The later 512-shot summary contains inconsistent 0.8047 and 0.822 values without a committed full curve, so neither is used as the main quantitative comparison.

## Slide 17
STEP 15
检查逐点残差并界定模型边界
Deviation = MC T40 − 单调论文重建；误差变号说明不仅是整体损失尺度不同
Chart: n
| 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Manual 200 error | -0.13203 | -0.14159 | -0.1531 | -0.15484 | -0.16684 | -0.16126 | -0.17325 | -0.16767 | -0.17034 | -0.17301 | -0.16787 | -0.16663 | -0.17836 | -0.16665 | -0.16862 | -0.16277 | -0.15617 | -0.14566 | -0.13711 | -0.12465 | -0.12781 | -0.14074 | -0.12438 | -0.11192 | -0.10336 | -0.094806 | -0.094166
Zero | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chart: n
| 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
Manual 400 error | -0.022687 | -0.012607 | -0.020105 | -0.0080719 | -0.013694 | -0.011503 | -0.024938 | -0.016887 | -0.037056 | -0.029881 | -0.046144 | -0.040922 | -0.054462 | -0.044566 | -0.048341 | -0.036491 | -0.032786 | -0.019316 | -0.021471 | -0.0099544 | -0.0042969 | 0.0091731 | -0.00079438 | 0.012676 | 0.020286 | 0.031803 | 0.034631 | 0.045271 | 0.044192 | 0.054832 | 0.043987 | 0.050721 | 0.051596 | 0.060283 | 0.053344 | 0.062031 | 0.055456 | 0.064506 | 0.057931 | 0.066981 | 0.070172 | 0.079222 | 0.084366 | 0.089509 | 0.090747 | 0.097844 | 0.088116 | 0.092059 | 0.086237 | 0.094088 | 0.096078 | 0.10197 | 0.10201 | 0.10986 | 0.10404 | 0.11189
Manual 600 error | -0.021381 | -0.020581 | -0.035406 | -0.034606 | -0.031844 | -0.021269 | -0.018506 | -0.0079313 | -0.01665 | -0.01365 | -0.020416 | -0.017416 | -0.01695 | -0.010625 | -0.0082063 | -0.0038344 | -0.0043069 | 0.0030331 | 0.0045138 | 0.011854 | 0.0055219 | 0.012862 | 0.0045769 | 0.011917 | 0.015351 | 0.022691 | 0.019902 | 0.026879 | 0.026043 | 0.034973 | 0.036091 | 0.045021 | 0.048091 | 0.057021 | 0.060092 | 0.069022 | 0.064913 | 0.072523 | 0.070367 | 0.077978 | 0.073869 | 0.079526 | 0.071511 | 0.079121 | 0.080871 | 0.088481 | 0.092295 | 0.098062 | 0.10383 | 0.11155 | 0.1095 | 0.11722 | 0.10737 | 0.11313 | 0.10327 | 0.11099
Zero | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
200 µs 持续负偏差且早期衰减过快。400/600 µs 早期偏低、后期偏高，late-time decay 太慢。当前 Level 2C 仍未包含真空寿命、随机噪声谱和真实 AWG/光学响应。
Sources: T40/comparison_to_paper.json · monotone paper reconstruction · Level 2C source audit
17
Notes: Sources:
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/T40/comparison_to_paper.json
- simulation/level2_joint_transfer/reference/fig6d_survival_digitized.csv
Method note: Deviations are recomputed from raw MC values against the monotone paper reconstruction used on slide 12. This slide does not use the ML curve because the current Fig. 6c replay full curve was not committed. Vacuum lifetime and apparatus loss channels are absent from the current Level 2C path.

## Slide 18
这次任务完成了什么
01
固定输入与验收口径
数字化 Fig. 6d，分开处理 paper survival 与 IRB fidelity，并把 ±0.02 设为逐点验收带。
02
复核基线并扫描机制
用相同随机池计算 baseline、温度、RIN、对准和抖动场景，确认 T40 最接近论文的时长排序。
03
回放 ML 并定位增益
数字化 Fig. 6c，得到 T40 下 ΔS=+0.231；2×2 消融表明模型内增益主要来自 position trajectory。
04
验收结果与边界
所有 manual 曲线仍未通过 ±0.02。真空寿命、随机噪声谱和真实 AWG/光学响应尚未进入 Level 2C。
结论：当前工作达到机制验证和相对比较阶段，尚未达到实验级绝对定量预测。
18
Notes: Sources:
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/summary_stage1.md
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/paper_ml_eval.json
- simulation/level2_joint_transfer/outputs/level2c_pickup_survival/scan_stage1/T40/comparison_to_paper.json